# Technical Specification: Telemetric Endpoints (TE)

## 1. Definition & Scope

A Telemetric Endpoint (TE) is defined as a specialized, low-power hardware node responsible for the primary acquisition of physical or environmental phenomena. Within the Deterministic Execution Manifest (DEM) ecosystem, the TE serves as the ground-truth data source, providing the raw inputs required for local inference and Immutable Resource Provenance (IRP).

## 2. Universal Data Compatibility

To ensure sector-agnostic utility, Telemetric Endpoints must support a modular sensing architecture capable of capturing:

- Linear/Analog Signals: Voltage, current, or resistive changes (e.g., moisture, pressure, flow, temperature).

- Digital/Pulse Inputs: Frequency-based data (e.g., flow meters, anemometers, energy kilovolt-ampere counters).

- Spatial/Coordinate Data: Internal metadata including fixed GPS coordinates or relative grid positioning for mapping within the Spatial Data Warehouse (SDW).

## 3. Communication & Transmission Architecture

Telemetric Endpoints are "Transmit-Only" or "Query-Responsive" nodes designed to minimize energy consumption and hardware complexity.

### 3.1 Data Aggregation Path

- Node-to-Relay Handshake: TEs transmit raw, uncompressed data packets to a Data Aggregation Node (Relay) via low-power radio (LoRa, BLE, or Sub-GHz).

- Encryption at Source: Each packet must be signed with a unique Hardware ID to ensure that the data lineage can be traced back to the specific point of origin for the Audit Ledger.

### 3.2 Sampling & Heartbeat

- Triggered Acquisition: TEs remain in a deep-sleep state until triggered by a hardware timer or an external interrupt.

- Payload Structure: Minimalist packet headers containing [NodeID], [Timestamp], [RawValue], and [BatteryStatus].

## 4. Operational Requirements for Compliance

To support Quantifiable Conservation Validation (QCV), the Telemetric Endpoint must adhere to strict calibration and persistence standards:

- Calibration Persistence: Digital signatures must include a "Calibration Version" metadata tag to ensure that the Inference Engine can adjust for sensor drift over longitudinal studies.

- Deterministic Reporting: The TE must report data in a consistent format that allows the Edge Computing Gateway to calculate the "Sensor Delta" against the DEM’s predicted model.

## 5. Environmental & Deployment Versatility

- Form Factor: Modular interface allowing for the attachment of different "Sensing Probes" without replacing the core radio/logic board.

- Power Autonomy: Capable of 3–5 years of operation on a localized power cell (internal battery or micro-solar).

- Durability: Rated for extreme environments to ensure data continuity during high-stress events (e.g., drought, flood, or industrial surges).